## ALS_Data
Do not change the order of each row
ALS Testing Services (Thailand) Co., Ltd
75/37 Moo 11, Klong Nueng Subsdistrict,
Klong Luang District, Pathumthani 12120
Phone +66 2 9081681-5 Fax +66 2 908 1680 www.alsglobal.com
A Campbell Brothers Limited Company
The ALS Laboratory Group
Warunee Maneesuwan
M.Sc, B.Sc Assistant Manager

## Specification
Seagate Specification
Component: 208000010-TAB
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 1 | Description
Description |  | Unit | SO4 | Br | F | Cl | NO3 | NO2 | PO4 | Total Anions | NH4 | Li | Ca | K | Na | Mg | Total Cations | Exc. PO4? | 3 | Unit
Mechanical Cmpts in Contact w Discs (non EN Plated) to be cleaned | 20800010-100 Rev.BE | µg/cm2 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.20 | < 0.2 | NA | NA | NA | NA | NA | NA | N | 4 | SO4 | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Mechanical Cmpts in Contact w Discs (non EN Plated) to be cleaned','20800010-100 Rev.BE','µg/cm2','< 0.1','< 0.1','< 0.1','< 0.1','< 0.1','< 0.1','< 0.1','< 0.20','< 0.2','NA','NA','NA','NA','NA','NA','N','','4','SO4');
Mechanical Cmpts in Contact w Discs (non EN Plated) to be used directly in cleanroom | 20800010-100 Rev.BE | µg/cm2 | <0.03 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.1 | <0.1 | NA | NA | NA | NA | NA | NA | N | 5 | Br | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Mechanical Cmpts in Contact w Discs (non EN Plated) to be used directly in cleanroom','20800010-100 Rev.BE','µg/cm2','<0.03','<0.05','<0.05','<0.05','<0.05','<0.05','<0.05','<0.1','<0.1','NA','NA','NA','NA','NA','NA','N','','5','Br');
Mechanical Cmpts in Contact w Discs (EN Plated) to be cleaned | 20800010-100 Rev.BE | µg/cm2 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.15 | <0.2 (excluded PO4) | <0.2 | NA | NA | NA | NA | NA | NA | Y | 6 | F | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Mechanical Cmpts in Contact w Discs (EN Plated) to be cleaned','20800010-100 Rev.BE','µg/cm2','<0.1','<0.1','<0.1','<0.1','<0.1','<0.1','<0.15','<0.2 (excluded PO4)','<0.2','NA','NA','NA','NA','NA','NA','Y','','6','F');
Mechanical Cmpts in Contact w Discs (EN Plated) to be used directly in cleanroom | 20800010-100 Rev.BE | µg/cm2 | <0.03 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.15 | <0.1 (excluded PO4) | <0.1 | NA | NA | NA | NA | NA | NA | Y | 7 | Cl | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Mechanical Cmpts in Contact w Discs (EN Plated) to be used directly in cleanroom','20800010-100 Rev.BE','µg/cm2','<0.03','<0.05','<0.05','<0.05','<0.05','<0.05','<0.15','<0.1 (excluded PO4)','<0.1','NA','NA','NA','NA','NA','NA','Y','','7','Cl');
Mechanical Cmpts in Contact w Discs (DDG EN Plated) to be cleaned | 20800010-100 Rev.BE | µg/cm2 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.9 | <0.2 (excluded PO4) | <0.2 | NA | NA | NA | NA | NA | NA | Y | 6 | F | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Mechanical Cmpts in Contact w Discs (DDG EN Plated) to be cleaned','20800010-100 Rev.BE','µg/cm2','<0.1','<0.1','<0.1','<0.1','<0.1','<0.1','<0.9','<0.2 (excluded PO4)','<0.2','NA','NA','NA','NA','NA','NA','Y','','6','F');
Mechanical Cmpts in Contact w Discs (DDG EN Plated) to be used directly in cleanroom | 20800010-100 Rev.BE | µg/cm2 | <0.03 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.48 | <0.1 (excluded PO4) | <0.1 | NA | NA | NA | NA | NA | NA | Y | 7 | Cl | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Mechanical Cmpts in Contact w Discs (DDG EN Plated) to be used directly in cleanroom','20800010-100 Rev.BE','µg/cm2','<0.03','<0.05','<0.05','<0.05','<0.05','<0.05','<0.48','<0.1 (excluded PO4)','<0.1','NA','NA','NA','NA','NA','NA','Y','','7','Cl');
Head Stack Ass'y (HSA) | 20800010-110 Rev.BE | µg/cm2 | <0.03 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.2 | <0.1 | NA | NA | NA | NA | NA | NA | N | 8 | NO3 | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Head Stack Ass'y (HSA)','20800010-110 Rev.BE','µg/cm2','<0.03','<0.05','<0.05','<0.05','<0.05','<0.05','<0.05','<0.2','<0.1','NA','NA','NA','NA','NA','NA','N','','8','NO3');
Head Stack Assy (HSA) (EN Plated) | 20800010-110 Rev.BE | µg/cm2 | <0.03 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.15 | <0.2 (excluded PO4) | <0.1 | NA | NA | NA | NA | NA | NA | Y | 9 | NO2 | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Head Stack Assy (HSA) (EN Plated)','20800010-110 Rev.BE','µg/cm2','<0.03','<0.05','<0.05','<0.05','<0.05','<0.05','<0.15','<0.2 (excluded PO4)','<0.1','NA','NA','NA','NA','NA','NA','Y','','9','NO2');
Mechanical Cmpts Not in Contact w Discs (non EN, non FC) to be cleaned | 20800010-120 Rev.BE | µg/cm2 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.2 | <0.2 | NA | NA | NA | NA | NA | NA | N | 10 | PO4 | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Mechanical Cmpts Not in Contact w Discs (non EN, non FC) to be cleaned','20800010-120 Rev.BE','µg/cm2','<0.1','<0.1','<0.1','<0.1','<0.1','<0.1','<0.1','<0.2','<0.2','NA','NA','NA','NA','NA','NA','N','','10','PO4');
Mechanical Cmpts Not in Contact w Discs (non EN, non FC) to be used directly in the cleanroom | 20800010-120 Rev.BE | µg/cm2 | <0.03 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.2 | <0.1 | NA | NA | NA | NA | NA | NA | N | 11 | Total | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Mechanical Cmpts Not in Contact w Discs (non EN, non FC) to be used directly in the cleanroom','20800010-120 Rev.BE','µg/cm2','<0.03','<0.05','<0.05','<0.05','<0.05','<0.05','<0.05','<0.2','<0.1','NA','NA','NA','NA','NA','NA','N','','11','Total');
Mechanical Cmpts Not in Contact w Discs (EN Plated, non FC) to be Cleaned | 20800010-120 Rev.BE | µg/cm2 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.15 | <0.2 (excluded PO4) | <0.2 | NA | NA | NA | NA | NA | NA | Y | 12 | NH4 | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Mechanical Cmpts Not in Contact w Discs (EN Plated, non FC) to be Cleaned','20800010-120 Rev.BE','µg/cm2','<0.1','<0.1','<0.1','<0.1','<0.1','<0.1','<0.15','<0.2 (excluded PO4)','<0.2','NA','NA','NA','NA','NA','NA','Y','','12','NH4');
Mechanical Cmpts Not in Contact w Discs (EN Plated, non FC) to be used Directly in the cleanroom | 20800010-120 Rev.BE | µg/cm2 | <0.03 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.15 | <0.2 (excluded PO4) | <0.1 | NA | NA | NA | NA | NA | NA | Y | 13 | Li | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Mechanical Cmpts Not in Contact w Discs (EN Plated, non FC) to be used Directly in the cleanroom','20800010-120 Rev.BE','µg/cm2','<0.03','<0.05','<0.05','<0.05','<0.05','<0.05','<0.15','<0.2 (excluded PO4)','<0.1','NA','NA','NA','NA','NA','NA','Y','','13','Li');
Mechanical Cmpts Not in Contact with Discs (non EN Plated, fluorocarbon mat'l) Parts to be Cleaned | 20800010-120 Rev.BE | µg/cm2 | <0.1 | <0.1 | <0.5 | <0.1 | <0.1 | <0.1 | <0.1 | <0.2 | <0.2 | NA | NA | NA | NA | NA | NA | N | 14 | Ca | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Mechanical Cmpts Not in Contact with Discs (non EN Plated, fluorocarbon mat'l) Parts to be Cleaned','20800010-120 Rev.BE','µg/cm2','<0.1','<0.1','<0.5','<0.1','<0.1','<0.1','<0.1','<0.2','<0.2','NA','NA','NA','NA','NA','NA','N','','14','Ca');
Mechanical Cmpts Not in Contact w Discs (non EN Plated, flurocarbon material) to be used Directly in the cleanroom | 20800010-120 Rev.BE | µg/cm2 | <0.03 | <0.05 | <0.1 | <0.05 | <0.05 | <0.05 | <0.05 | <0.2 | <0.1 | NA | NA | NA | NA | NA | NA | N | 15 | K | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Mechanical Cmpts Not in Contact w Discs (non EN Plated, flurocarbon material) to be used Directly in the cleanroom','20800010-120 Rev.BE','µg/cm2','<0.03','<0.05','<0.1','<0.05','<0.05','<0.05','<0.05','<0.2','<0.1','NA','NA','NA','NA','NA','NA','N','','15','K');
Mechanical Cmpts Not in Contact w Discs (EN Plated, fluorocarbon material) to be Cleaned | 20800010-120 Rev.BE | µg/cm2 | <0.1 | <0.1 | <0.5 | <0.1 | <0.1 | <0.1 | <0.15 | <0.2 (excluded PO4) | <0.2 | NA | NA | NA | NA | NA | NA | Y | 16 | Na | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Mechanical Cmpts Not in Contact w Discs (EN Plated, fluorocarbon material) to be Cleaned','20800010-120 Rev.BE','µg/cm2','<0.1','<0.1','<0.5','<0.1','<0.1','<0.1','<0.15','<0.2 (excluded PO4)','<0.2','NA','NA','NA','NA','NA','NA','Y','','16','Na');
Mechanical Cmpts Not in Contact w Discs (EN Plated, fluorocarbon material) to be used Directly in the cleanroom | 20800010-120 Rev.BE | µg/cm2 | <0.03 | <0.05 | <0.1 | <0.05 | <0.05 | <0.05 | <0.15 | <0.2 (exclude PO4) | <0.1 | NA | NA | NA | NA | NA | NA | Y | 17 | Mg | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Mechanical Cmpts Not in Contact w Discs (EN Plated, fluorocarbon material) to be used Directly in the cleanroom','20800010-120 Rev.BE','µg/cm2','<0.03','<0.05','<0.1','<0.05','<0.05','<0.05','<0.15','<0.2 (exclude PO4)','<0.1','NA','NA','NA','NA','NA','NA','Y','','17','Mg');
Breather Filters | 20800010-130 Rev.BE | µg/cm2 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.15 | <0.05 | <0.2 | <0.1 | NA | NA | NA | NA | NA | NA | N | 18 | Total Cations | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Breather Filters','20800010-130 Rev.BE','µg/cm2','<0.05','<0.05','<0.05','<0.05','<0.05','<0.15','<0.05','<0.2','<0.1','NA','NA','NA','NA','NA','NA','N','','18','Total Cations');
For Future Component | 20800010-140 Rev.BE | [17 empty] | 19 | Exclude PO4? | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('For Future Component','20800010-140 Rev.BE','','','','','','','','','','','','','','','','','','','19','Exclude PO4?');
Recirculation Filter | 20800010-150 Rev.BE | µg/cm2 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.2 | <0.1 | NA | NA | NA | NA | NA | NA | N |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Recirculation Filter','20800010-150 Rev.BE','µg/cm2','<0.05','<0.05','<0.05','<0.05','<0.05','<0.05','<0.05','<0.2','<0.1','NA','NA','NA','NA','NA','NA','N','','','');
Spindle Mtr / Integr'd MBA / MBA (non EN Plated) | 20800010-160 Rev.BE | µg/cm2 | <0.03 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.2 | <0.1 | NA | NA | NA | NA | NA | NA | N |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Spindle Mtr / Integr'd MBA / MBA (non EN Plated) ','20800010-160 Rev.BE','µg/cm2','<0.03','<0.05','<0.05','<0.05','<0.05','<0.05','<0.05','<0.2','<0.1','NA','NA','NA','NA','NA','NA','N','','','');
Spindle Mtr / Integr'd MBA / MBA (EN Plated) | 20800010-160 Rev.BE | µg/cm2 | <0.03 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.15 | <0.2 (excluded PO4) | <0.1 | NA | NA | NA | NA | NA | NA | Y |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Spindle Mtr / Integr'd MBA / MBA (EN Plated) ','20800010-160 Rev.BE','µg/cm2','<0.03','<0.05','<0.05','<0.05','<0.05','<0.05','<0.15','<0.2 (excluded PO4)','<0.1','NA','NA','NA','NA','NA','NA','Y','','','');
Spindle Mtr / Integr'd MBA / MBA (Crashstop - Fluorocarbon Elastomer only) to be cleaned | 20800010-270 Rev.BE | µg/cm2 | <0.1 | <0.1 | <0.5 | <0.1 | <0.1 | <0.1 | <0.1 | <1 | <0.2 | NA | NA | NA | NA | NA | NA | N |  | refer 20800010-270 | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Spindle Mtr / Integr'd MBA / MBA (Crashstop - Fluorocarbon Elastomer only) to be cleaned ','20800010-270 Rev.BE','µg/cm2','<0.1','<0.1','<0.5','<0.1','<0.1','<0.1','<0.1','<1','<0.2','NA','NA','NA','NA','NA','NA','N','','','refer 20800010-270');
Spindle Mtr / Integr'd MBA / MBA (Crashstop - Fluorocarbon Elastomer only) to be used directly in the cleanroom | 20800010-270 Rev.BE | µg/cm2 | <0.03 | <0.05 | <0.1 | <0.05 | <0.05 | <0.05 | <0.05 | <0.3 | <0.1 | NA | NA | NA | NA | NA | NA | N |  | refer 20800010-270 | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Spindle Mtr / Integr'd MBA / MBA (Crashstop - Fluorocarbon Elastomer only) to be used directly in the cleanroom','20800010-270 Rev.BE','µg/cm2','<0.03','<0.05','<0.1','<0.05','<0.05','<0.05','<0.05','<0.3','<0.1','NA','NA','NA','NA','NA','NA','N','','','refer 20800010-270');
Spindle Mtr / Integr'd MBA / MBA (Crashstop - Non-Fluorocarbon Elastomer only) to be cleaned | 20800010-270 Rev.BE | µg/cm2 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.2 | <0.2 | NA | NA | NA | NA | NA | NA | N |  | refer 20800010-270 | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Spindle Mtr / Integr'd MBA / MBA (Crashstop - Non-Fluorocarbon Elastomer only) to be cleaned ','20800010-270 Rev.BE','µg/cm2','<0.1','<0.1','<0.1','<0.1','<0.1','<0.1','<0.1','<0.2','<0.2','NA','NA','NA','NA','NA','NA','N','','','refer 20800010-270');
Spindle Mtr / Integr'd MBA / MBA (Crashstop - Non-Fluorocarbon Elastomer only) to be used directly in the cleanroom | 20800010-270 Rev.BE | µg/cm2 | <0.03 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.2 | <0.1 | NA | NA | NA | NA | NA | NA | N |  | refer 20800010-270 | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Spindle Mtr / Integr'd MBA / MBA (Crashstop - Non-Fluorocarbon Elastomer only) to be used directly in the cleanroom','20800010-270 Rev.BE','µg/cm2','<0.03','<0.05','<0.05','<0.05','<0.05','<0.05','<0.05','<0.2','<0.1','NA','NA','NA','NA','NA','NA','N','','','refer 20800010-270');
For Future Component | 20800010-170 Rev.BE | [19 empty] | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('For Future Component','20800010-170 Rev.BE','','','','','','','','','','','','','','','','','','','','');
Voice Coil Mechanism (non EN Plate, applied to FC) to be used directly in the cleanroom | 20800010-180 Rev.BE | µg/cm2 | <0.05 | <0.05 | <0.10 | <0.05 | <0.05 | <0.05 | <0.15 | <1.00 | <0.2 | NA | NA | NA | NA | NA | NA | N |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Voice Coil Mechanism (non EN Plate, applied to FC) to be used directly in the cleanroom','20800010-180 Rev.BE','µg/cm2','<0.05','<0.05','<0.10','<0.05','<0.05','<0.05','<0.15',' <1.00','<0.2','NA','NA','NA','NA','NA','NA','N','','','');
Voice Coil Mechanism (non EN Plate, applied to Non FC) to be used directly in the cleanroom | 20800010-180 Rev.BE | µg/cm2 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.15 | <0.20 | <0.2 | NA | NA | NA | NA | NA | NA | N |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Voice Coil Mechanism (non EN Plate, applied to Non FC) to be used directly in the cleanroom','20800010-180 Rev.BE','µg/cm2','<0.05','<0.05','<0.05','<0.05','<0.05','<0.05','<0.15',' <0.20','<0.2','NA','NA','NA','NA','NA','NA','N','','','');
Voice Coil Mechanism (EN Plate, applied to FC) to be used directly in the cleanroom | 20800010-180 Rev.BE | µg/cm2 | <0.05 | <0.05 | <0.10 | <0.05 | <0.05 | <0.05 | <0.15 | <1.00 (excluded PO4) | <0.2 | NA | NA | NA | NA | NA | NA | Y |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Voice Coil Mechanism (EN Plate, applied to FC) to be used directly in the cleanroom','20800010-180 Rev.BE','µg/cm2','<0.05','<0.05','<0.10','<0.05','<0.05','<0.05','<0.15','<1.00 (excluded PO4)','<0.2','NA','NA','NA','NA','NA','NA','Y','','','');
Voice Coil Mechanism (EN Plate, applied to Non FC) to be used directly in the cleanroom | 20800010-180 Rev.BE | µg/cm2 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.15 | <0.20 (exclude PO4) | <0.2 | NA | NA | NA | NA | NA | NA | Y |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Voice Coil Mechanism (EN Plate, applied to Non FC) to be used directly in the cleanroom','20800010-180 Rev.BE','µg/cm2','<0.05','<0.05','<0.05','<0.05','<0.05','<0.05','<0.15','<0.20 (exclude PO4)','<0.2','NA','NA','NA','NA','NA','NA','Y','','','');
Voice Coil Mechanism (Crashstop - Fluorocarbon Elastomer only) to be cleaned | 20800010-270 Rev.BE | µg/cm2 | <0.1 | <0.1 | <0.5 | <0.1 | <0.1 | <0.1 | <0.1 | <1 | <0.2 | NA | NA | NA | NA | NA | NA | N |  | refer 20800010-270 | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Voice Coil Mechanism (Crashstop - Fluorocarbon Elastomer only) to be cleaned ','20800010-270 Rev.BE','µg/cm2','<0.1','<0.1','<0.5','<0.1','<0.1','<0.1','<0.1','<1','<0.2','NA','NA','NA','NA','NA','NA','N','','','refer 20800010-270');
Voice Coil Mechanism (Crashstop - Fluorocarbon Elastomer only) to be used directly in the cleanroom | 20800010-270 Rev.BE | µg/cm2 | <0.03 | <0.05 | <0.1 | <0.05 | <0.05 | <0.05 | <0.05 | <0.3 | <0.1 | NA | NA | NA | NA | NA | NA | N |  | refer 20800010-270 | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Voice Coil Mechanism (Crashstop - Fluorocarbon Elastomer only) to be used directly in the cleanroom','20800010-270 Rev.BE','µg/cm2','<0.03','<0.05','<0.1','<0.05','<0.05','<0.05','<0.05','<0.3','<0.1','NA','NA','NA','NA','NA','NA','N','','','refer 20800010-270');
Voice Coil Mechanism (Crashstop - Non-Fluorocarbon Elastomer only) to be cleaned | 20800010-270 Rev.BE | µg/cm2 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.2 | <0.2 | NA | NA | NA | NA | NA | NA | N |  | refer 20800010-270 | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Voice Coil Mechanism (Crashstop - Non-Fluorocarbon Elastomer only) to be cleaned ','20800010-270 Rev.BE','µg/cm2','<0.1','<0.1','<0.1','<0.1','<0.1','<0.1','<0.1','<0.2','<0.2','NA','NA','NA','NA','NA','NA','N','','','refer 20800010-270');
Voice Coil Mechanism (Crashstop - Non-Fluorocarbon Elastomer only) to be used directly in the cleanroom | 20800010-270 Rev.BE | µg/cm2 | <0.03 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.2 | <0.1 | NA | NA | NA | NA | NA | NA | N |  | refer 20800010-270 | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Voice Coil Mechanism (Crashstop - Non-Fluorocarbon Elastomer only) to be used directly in the cleanroom','20800010-270 Rev.BE','µg/cm2','<0.03','<0.05','<0.05','<0.05','<0.05','<0.05','<0.05','<0.2','<0.1','NA','NA','NA','NA','NA','NA','N','','','refer 20800010-270');
Head Gimbal Assy (HGA) (PZT) | 20800010-190 Rev.BE | ng/part | < 5.0 | < 1.0 | < 1.0 | < 3.0 | < 3.0 | < 3.0 | < 10.0 | < 15.0 | < 2.3 | HIDE | < 2.5 | < 4.5 | < 6.0 | NA | < 10.0 | N |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Head Gimbal Assy (HGA) (PZT)','20800010-190 Rev.BE','ng/part','< 5.0','< 1.0','< 1.0','< 3.0','< 3.0','< 3.0','< 10.0','< 15.0','< 2.3','HIDE','< 2.5','< 4.5','< 6.0','NA','< 10.0','N','','','');
Head Gimbal Assy (HGA) (Sliders*) | 20800010-190 Rev.BE | ng/slider | < 5.0 | < 1.0 | < 1.0 | < 3.0 | < 3.0 | < 3.0 | < 10.0 | < 15.0 | < 2.3 | HIDE | < 2.5 | < 4.5 | < 6.0 | NA | < 10.0 | N |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Head Gimbal Assy (HGA) (Sliders*)','20800010-190 Rev.BE','ng/slider','< 5.0','< 1.0','< 1.0','< 3.0','< 3.0','< 3.0','< 10.0','< 15.0','< 2.3','HIDE','< 2.5','< 4.5','< 6.0','NA','< 10.0','N','','','');
Head Gimbal Assy (HGA) (Load Arm Assembly) | 20800010-190 Rev.BE | µg/cm2 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.10 | < 0.10 | HIDE | < 0.10 | < 0.10 | < 0.05 | < 0.05 | < 0.05 | N |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Head Gimbal Assy (HGA) (Load Arm Assembly)','20800010-190 Rev.BE','µg/cm2','< 0.05','< 0.05','< 0.05','< 0.05','< 0.05','< 0.05','< 0.05','< 0.10','< 0.10','HIDE','< 0.10','< 0.10','< 0.05','< 0.05','< 0.05','N','','','');
Head Gimbal Assy (HGA) (TGA Circuit) | 20800010-190 Rev.BE | µg/cm2 | < 0.30 | < 0.02 | < 0.02 | < 0.03 | < 0.05 | < 0.05 | < 0.05 | < 0.35 | < 0.20 | HIDE | < 0.10 | < 0.50 | < 0.40 | NA | < 0.70 | N |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Head Gimbal Assy (HGA) (TGA Circuit)','20800010-190 Rev.BE','µg/cm2','< 0.30','< 0.02','< 0.02','< 0.03','< 0.05','< 0.05','< 0.05','< 0.35','< 0.20','HIDE','< 0.10','< 0.50','< 0.40','NA','< 0.70','N','','','');
Head Gimbal Assy (HGA) (TGA) | 20800010-190 Rev.BE | µg/cm2 | < 0.30 | < 0.02 | < 0.02 | < 0.07 | < 0.05 | < 0.05 | < 0.05 | < 0.35 | < 0.20 | HIDE | < 0.10 | < 0.50 | < 0.40 | 0.15 | < 0.70 | N |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Head Gimbal Assy (HGA) (TGA)','20800010-190 Rev.BE','µg/cm2','< 0.30','< 0.02','< 0.02','< 0.07','< 0.05','< 0.05','< 0.05','< 0.35','< 0.20','HIDE','< 0.10','< 0.50','< 0.40','0.15','< 0.70','N','','','');
Head Gimbal Assy (HGA) (Head Gimbal Assembly) | 20800010-190 Rev.BE | µg/cm2 | < 0.30 | < 0.02 | < 0.02 | < 0.07 | NA | < 0.05 | < 0.05 | < 0.35 | < 0.20 | HIDE | <0.10 | <0.50 | <0.40 | <0.15 | <0.70 | N |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Head Gimbal Assy (HGA) (Head Gimbal Assembly)','20800010-190 Rev.BE','µg/cm2','< 0.30','< 0.02','< 0.02','< 0.07','NA','< 0.05','< 0.05','< 0.35','< 0.20','HIDE','<0.10','<0.50','<0.40','<0.15','<0.70','N','','','');
Actuators, Extruded/Overmolded/Stamped & Arm-Coil, Arm Coil PCCA w & w/o Bearing Assy (ACPB) (non EN Plated) to be used directly in the cleanroom / As received | 20800010-200 Rev.BE | µg/cm2 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.20 | < 0.10 | NA | NA | NA | NA | NA | NA | N |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Actuators, Extruded/Overmolded/Stamped & Arm-Coil, Arm Coil PCCA w & w/o Bearing Assy (ACPB) (non EN Plated) to be used directly in the cleanroom / As received','20800010-200 Rev.BE','µg/cm2','< 0.05','< 0.05','< 0.05','< 0.05','< 0.05','< 0.05','< 0.05','< 0.20','< 0.10','NA','NA','NA','NA','NA','NA','N','','','');
Actuators, Extruded/Overmolded/Stamped & Arm-Coil, Arm Coil PCCA w & w/o Bearing Assy (ACPB) (EN Plated) to be used directly in the cleanroom / As received | 20800010-200 Rev.BE | µg/cm2 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.15 | < 0.2 (excluded PO4) | < 0.1 | NA | NA | NA | NA | NA | NA | Y |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Actuators, Extruded/Overmolded/Stamped & Arm-Coil, Arm Coil PCCA w & w/o Bearing Assy (ACPB) (EN Plated) to be used directly in the cleanroom / As received','20800010-200 Rev.BE','µg/cm2','< 0.05','< 0.05','< 0.05','< 0.05','< 0.05','< 0.05','< 0.15','< 0.2 (excluded PO4)','< 0.1','NA','NA','NA','NA','NA','NA','Y','','','');
Coil or Voice Coil (non EN Plated) to be cleaned | 20800010-210 Rev.BE | µg/cm2 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.20 | < 0.2 | NA | NA | NA | NA | NA | NA | N |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Coil or Voice Coil (non EN Plated) to be cleaned','20800010-210 Rev.BE','µg/cm2','< 0.1','< 0.1','< 0.1','< 0.1','< 0.1','< 0.1','< 0.1','< 0.20','< 0.2','NA','NA','NA','NA','NA','NA','N','','','');
Coil or Voice Coil (non EN Plated) to be used directly in the cleanroom | 20800010-210 Rev.BE | µg/cm2 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.20 | < 0.1 | NA | NA | NA | NA | NA | NA | N |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Coil or Voice Coil (non EN Plated) to be used directly in the cleanroom','20800010-210 Rev.BE','µg/cm2','< 0.05','< 0.05','< 0.05','< 0.05','< 0.05','< 0.05','< 0.05','< 0.20','< 0.1','NA','NA','NA','NA','NA','NA','N','','','');
Actuator Cartridge Bearing Ass'y | 20800010-220 Rev.BE | µg/cm2 | < 0.1 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.20 | < 0.1 | NA | NA | NA | NA | NA | NA | N |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Actuator Cartridge Bearing Ass'y','20800010-220 Rev.BE','µg/cm2','< 0.1','< 0.05','< 0.05','< 0.05','< 0.05','< 0.05','< 0.05','< 0.20','< 0.1','NA','NA','NA','NA','NA','NA','N','','','');
Flexible Printed Circuit Ass'y - to be cleaned | 20800010-230 Rev.BE | µg/cm2 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.20 | < 0.2 | NA | NA | NA | NA | NA | NA | N |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Flexible Printed Circuit Ass'y - to be cleaned','20800010-230 Rev.BE','µg/cm2','< 0.1','< 0.1','< 0.1','< 0.1','< 0.1','< 0.1','< 0.1','< 0.20','< 0.2','NA','NA','NA','NA','NA','NA','N','','','');
Flexible Printed Circuit Ass'y - to be used directly in the cleanroom | 20800010-230 Rev.BE | µg/cm2 | < 0.03 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.20 | < 0.1 | NA | NA | NA | NA | NA | NA | N |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Flexible Printed Circuit Ass'y - to be used directly in the cleanroom','20800010-230 Rev.BE','µg/cm2','< 0.03','< 0.05','< 0.05','< 0.05','< 0.05','< 0.05','< 0.05','< 0.20','< 0.1','NA','NA','NA','NA','NA','NA','N','','','');
Flexible Printed Circuit - to be cleaned | 20800010-240 Rev.BE | µg/cm2 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.20 | < 0.2 | NA | NA | NA | NA | NA | NA | N |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Flexible Printed Circuit - to be cleaned','20800010-240 Rev.BE','µg/cm2','< 0.1','< 0.1','< 0.1','< 0.1','< 0.1','< 0.1','< 0.1','< 0.20','< 0.2','NA','NA','NA','NA','NA','NA','N','','','');
Flexible Printed Circuit - to be used directly in the cleanroom | 20800010-240 Rev.BE | µg/cm2 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.20 | < 0.1 | NA | NA | NA | NA | NA | NA | N |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Flexible Printed Circuit - to be used directly in the cleanroom','20800010-240 Rev.BE','µg/cm2','< 0.05','< 0.05','< 0.05','< 0.05','< 0.05','< 0.05','< 0.05','< 0.20','< 0.1','NA','NA','NA','NA','NA','NA','N','','','');
Drive Internal Hardware (non EN Teflon) to be cleaned | 20800010-250 Rev.BE | µg/cm2 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.20 | < 0.2 | NA | NA | NA | NA | NA | NA | N |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Drive Internal Hardware (non EN Teflon) to be cleaned','20800010-250 Rev.BE','µg/cm2','< 0.1','< 0.1','< 0.1','< 0.1','< 0.1','< 0.1','< 0.1','< 0.20','< 0.2','NA','NA','NA','NA','NA','NA','N','','','');
Drive Internal Hardware (non EN Teflon) to be used directly in the cleanroom | 20800010-250 Rev.BE | µg/cm2 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.20 | < 0.1 | NA | NA | NA | NA | NA | NA | N |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Drive Internal Hardware (non EN Teflon) to be used directly in the cleanroom','20800010-250 Rev.BE','µg/cm2','< 0.05','< 0.05','< 0.05','< 0.05','< 0.05','< 0.05','< 0.05','< 0.20','< 0.1','NA','NA','NA','NA','NA','NA','N','','','');
Drive Internal Hardware (EN Teflon) to be cleaned | 20800010-250 Rev.BE | µg/cm2 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.15 | < 0.2 (excluded PO4) | < 0.2 | NA | NA | NA | NA | NA | NA | Y |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Drive Internal Hardware (EN Teflon) to be cleaned','20800010-250 Rev.BE','µg/cm2','< 0.1','< 0.1','< 0.1','< 0.1','< 0.1','< 0.1','< 0.15','< 0.2 (excluded PO4)','< 0.2','NA','NA','NA','NA','NA','NA','Y','','','');
Drive Internal Hardware (EN Teflon) to be used directly in the cleanroom | 20800010-250 Rev.BE | µg/cm2 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.15 | < 0.2 (excluded PO4) | < 0.1 | NA | NA | NA | NA | NA | NA | Y |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Drive Internal Hardware (EN Teflon) to be used directly in the cleanroom','20800010-250 Rev.BE','µg/cm2','< 0.05','< 0.05','< 0.05','< 0.05','< 0.05','< 0.05','< 0.15','< 0.2 (excluded PO4)','< 0.1','NA','NA','NA','NA','NA','NA','Y','','','');
Plastic Components - to be cleaned | 20800010-260 Rev.BE | µg/cm2 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.20 | < 0.2 | NA | NA | NA | NA | NA | NA | N |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Plastic Components - to be cleaned','20800010-260 Rev.BE','µg/cm2','< 0.1','< 0.1','< 0.1','< 0.1','< 0.1','< 0.1','< 0.1','< 0.20','< 0.2','NA','NA','NA','NA','NA','NA','N','','','');
Plastic Components - to be used directly in the cleanroom | 20800010-260 Rev.BE | µg/cm2 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.20 | < 0.1 | NA | NA | NA | NA | NA | NA | N |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Plastic Components - to be used directly in the cleanroom','20800010-260 Rev.BE','µg/cm2','< 0.05','< 0.05','< 0.05','< 0.05','< 0.05','< 0.05','< 0.05','< 0.20','< 0.1','NA','NA','NA','NA','NA','NA','N','','','');
Elastomer Materials (Fluorocarbon Elastomers) to be cleaned | 20800010-270 Rev.BE | µg/cm2 | < 0.1 | < 0.1 | < 0.5 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 1.00 | < 0.2 | NA | NA | NA | NA | NA | NA | N |  | refer 20800010-270 | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Elastomer Materials (Fluorocarbon Elastomers) to be cleaned','20800010-270 Rev.BE','µg/cm2','< 0.1','< 0.1','< 0.5','< 0.1','< 0.1','< 0.1','< 0.1','< 1.00','< 0.2','NA','NA','NA','NA','NA','NA','N','','','refer 20800010-270');
Elastomer Materials (Fluorocarbon Elastomers) to be used directly in the cleanroom | 20800010-270 Rev.BE | µg/cm2 | < 0.03 | < 0.05 | < 0.1 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.30 | < 0.1 | NA | NA | NA | NA | NA | NA | N |  | refer 20800010-270 | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Elastomer Materials (Fluorocarbon Elastomers) to be used directly in the cleanroom','20800010-270 Rev.BE','µg/cm2','< 0.03','< 0.05','< 0.1','< 0.05','< 0.05','< 0.05','< 0.05','< 0.30','< 0.1','NA','NA','NA','NA','NA','NA','N','','','refer 20800010-270');
Elastomer Materials (non-Fluorocarbon Elastomers) to be cleaned | 20800010-270 Rev.BE | µg/cm2 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | < 0.20 | <0.2 | NA | NA | NA | NA | NA | NA | N |  | refer 20800010-270 | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Elastomer Materials (non-Fluorocarbon Elastomers) to be cleaned','20800010-270 Rev.BE','µg/cm2','<0.1','<0.1','<0.1','<0.1','<0.1','<0.1','<0.1','< 0.20','<0.2','NA','NA','NA','NA','NA','NA','N','','','refer 20800010-270');
Elastomer Materials (non-Fluorocarbon Elastomers) to be used directly in the cleanroom | 20800010-270 Rev.BE | µg/cm2 | <0.03 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | < 0.20 | <0.1 | NA | NA | NA | NA | NA | NA | N |  | refer 20800010-270 | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Elastomer Materials (non-Fluorocarbon Elastomers) to be used directly in the cleanroom','20800010-270 Rev.BE','µg/cm2','<0.03','<0.05','<0.05','<0.05','<0.05','<0.05','<0.05','< 0.20','<0.1','NA','NA','NA','NA','NA','NA','N','','','refer 20800010-270');
Damper (Internal & External to HDA), ACA Damper, VCM Damper | 20800010-280 Rev.BE | µg/cm2 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.20 | < 0.2 | NA | NA | NA | NA | NA | NA | N |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES(' Damper (Internal & External to HDA), ACA Damper, VCM Damper','20800010-280 Rev.BE','µg/cm2','< 0.1','< 0.1','< 0.1','< 0.1','< 0.1','< 0.1','< 0.1','< 0.20','< 0.2','NA','NA','NA','NA','NA','NA','N','','','');
Top Cover Gasket (No Spec) | 20800010-290 Rev.BE | [19 empty] | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Top Cover Gasket (No Spec)','20800010-290 Rev.BE','','','','','','','','','','','','','','','','','','','','');
PCBA Insulation Foams / Sheet | 20800010-300 Rev.BE | µg/g | < 8.0 | HIDE | HIDE | < 88.0 | HIDE | HIDE | HIDE | HIDE | < 20.0 | HIDE | HIDE | HIDE | HIDE | HIDE | HIDE | N |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('PCBA Insulation Foams / Sheet','20800010-300 Rev.BE','µg/g','< 8.0','HIDE','HIDE','< 88.0','HIDE','HIDE','HIDE','HIDE','< 20.0','HIDE','HIDE','HIDE','HIDE','HIDE','HIDE','N','','','');
Seals (Pressure Sensitive Adhesive) | 20800010-310 Rev.BE | µg/cm2 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.20 | < 0.2 | NA | NA | NA | NA | NA | NA | N |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Seals (Pressure Sensitive Adhesive)','20800010-310 Rev.BE','µg/cm2','< 0.1','< 0.1','< 0.1','< 0.1','< 0.1','< 0.1','< 0.1','< 0.20','< 0.2','NA','NA','NA','NA','NA','NA','N','','','');
For Future Component | 20800010-320 Rev.BE | [19 empty] | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('For Future Component','20800010-320 Rev.BE','','','','','','','','','','','','','','','','','','','','');
For Future Component | 20800010-330 Rev.BE | [19 empty] | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('For Future Component','20800010-330 Rev.BE','','','','','','','','','','','','','','','','','','','','');
Carbon Adsorbent Filter and Desiccant | 20800010-340 Rev.BE | µg/cm2 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.15 | < 0.05 | < 0.20 | < 0.16 | NA | NA | NA | NA | NA | NA | N |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('Carbon Adsorbent Filter and Desiccant','20800010-340 Rev.BE','µg/cm2','< 0.05','< 0.05','< 0.05','< 0.05','< 0.05','< 0.15','< 0.05','< 0.20','< 0.16','NA','NA','NA','NA','NA','NA','N','','','');
VCM Damper | 20800010-350 Rev.BE | µg/cm2 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.20 | < 0.2 | NA | NA | NA | NA | NA | NA | N |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES('VCM Damper','20800010-350 Rev.BE','µg/cm2','< 0.1','< 0.1','< 0.1','< 0.1','< 0.1','< 0.1','< 0.1','< 0.20','< 0.2','NA','NA','NA','NA','NA','NA','N','','','');
no spec | - | µg/cm2 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA |  |  |  | INSERT INTO template_29_specification(A,B,C,D,E,F,G,H,I,J,K,L,M,N,O,P,Q,R,S,T,U,V) VALUES(' no spec','-','µg/cm2','NA','NA','NA','NA','NA','NA','NA','NA','NA','NA','NA','NA','NA','NA','NA','','','','');

## Coverpage-TH
CUSTOMER'S REF NO.: |  |  | Converter Ver 1.2 Ready |  |  | D3 | h | 2 | nb | ns | z
ALS THAILAND REF NO.: | ATT/ELP/13/ |  |  |  | 1 | D2 | c | 2 | nb | ns | z
OUR REF NO.: | [5 empty] | D18 | c | 2 | nb | ns | z
DATE: | 2015-02-05 | [5 empty] | c | 2 | nb | ns | z
COMPANY: | [5 empty] | D5 | c | 2 | nb | ns | z
DATE SAMPLE RECEIVED: | [5 empty] | D1 | c | 2 | nb | ns | z
DATE ANALYZED: | [6 empty] | c | 2 | nb | ns | z
DATE TEST COMPLETED: | [6 empty] | c | 2 | nb | ns | z
SAMPLE DESCRIPTION: | One lot of sample was received with references: | [5 empty] | h | 2 | nb | ns | z
[6 empty] | D9 | h | 2 | nb | ns | z
[6 empty] | D10 | c | 2 | nb | ns | z
[6 empty] | D11 | c | 2 | nb | ns | z
[6 empty] | D12 | c | 2 | nb | ns | z
METHOD/PROCEDURE: | [6 empty] | r | a
Analysis | Procedure No | Number of pieces used for extraction | Extraction Medium | Extraction Volume |  |  | h | 5 | b | s | z
IC | 20800012-001 Rev.E | 0 | Ultrapure Water at 80oC | 0ml |  | M1M2 | c | 5 | b | ns | z
IC | 20800012-001 Rev.E 35344-001 Rev T | 0 | Ultrapure water at ambient temperature | 0ml |  | M1M2 | c | 5 | b | ns | z
RESULTS: | [6 empty] | r | a
The Specification is based on Seagate's Doc 20800010-100 Rev.BE for Mechanical Cmpts in Contact w Discs (non EN Plated) to be cleaned | [6 empty] | r | a
This sample is no Seagate specification reference. | [6 empty] | r | a
Anionic Contamination | Specification Limits, (µg/cm2) | Results, (µg/cm2) |  |  |  | M16 | h | 3 | b | s | z
Fluoride as F | < 0.1 | #DIV/0! |  |  |  | M16 | c | 3 | b | ns | z
Chloride as Cl | < 0.1 | #DIV/0! |  |  |  | M16 | c | 3 | b | ns | z
Nitrite as NO2 | < 0.1 | #DIV/0! |  |  |  | M16 | c | 3 | b | ns | z
Bromide as Br | < 0.1 | #DIV/0! |  |  |  | M16 | c | 3 | b | ns | z
Nitrate as NO3 | < 0.1 | #DIV/0! |  |  |  | M16 | c | 3 | b | ns | z
Sulphate as SO4 | < 0.1 | #DIV/0! |  |  | . | M16 | c | 3 | b | ns | z
Phosphate as PO4 | < 0.1 | #DIV/0! |  |  |  | M16 | c | 3 | b | ns | z
Total of 7Anions | < 0.20 | #DIV/0! |  |  |  | M16 | c | 3 | b | ns | z
Cationic Contamination | Specification Limits, (µg/cm2) | Results, (µg/cm2) |  |  |  | M2 | h | 3 | b | s | z
Lithium as Li | NA | #DIV/0! |  |  |  | M2 | c | 3 | b | ns | z
Sodium as Na | NA | #DIV/0! |  |  |  | M2 | c | 3 | b | ns | z
Ammonium as NH4 | < 0.2 | #DIV/0! |  |  |  | M16 | c | 3 | b | ns | z
Potassium as K | NA | #DIV/0! |  |  |  | M2 | c | 3 | b | ns | z
Magnesium as Mg | NA | #DIV/0! |  |  |  | M2 | c | 3 | b | ns | z
Calcium as Ca | NA | #DIV/0! |  |  |  | M2 | c | 3 | b | ns | z
Total Cations | NA | #DIV/0! |  |  |  | M2 | c | 3 | b | ns | z
Remarks: | [5 empty] | M3M5 | r | a
EOF
[6 empty] | EOF | eof
Tested By: |  | Approved By:
Date: |  | Date:
Version 2010-04A

## Workingpg-IC
Worksheet for Seagate Ionic Extraction
Ref No. : | ATT/ELP/13/
Sample Description : | 0
P/N No : | 0
Date of sample received : | 0
Date of sample analysed : | 0
Total volume (TV) : |  | L
Surface area (A) : |  | sq cm | 0
No of parts extracted (N) =
Anions | Conc of water blank, ug/L (B) | Conc of sample, ug/L (C) | Dilution Factor | Raw Result (ug/sq cm) | Instrument Detection Limit (ug/L) | Method Detection Limit (ug/sq cm) | Below Detection? (1=Yes, 0=No) | Conc of sample, (ug/sq cm) | Result for use in Total (ug/sq cm)
Fluoride, F |  |  | 1 | #DIV/0! | 0.5 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Chloride, Cl |  |  | 1 | #DIV/0! | 0.5 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Nitrite as NO2 |  |  | 1 | #DIV/0! | 0.5 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Bromide, Br |  |  | 1 | #DIV/0! | 0.5 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Nitrate, NO3 |  |  | 1 | #DIV/0! | 0.5 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Sulfate, SO4 |  |  | 1 | #DIV/0! | 0.5 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Phosphate, PO4 |  |  | 1 | #DIV/0! | 0.5 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0!
Cations | Conc of water blank, ug/L (B) | Conc of sample, ug/L (C) | Dilution Factor | Raw Result (ug/sq cm) | Instrument Detection Limit (ug/L) | Method Detection Limit (ug/sq cm) | Below Detection? (1=Yes, 0=No) | Conc of sample, (ug/sq cm) | Result for use in Total (ug/sq cm)
Lithium, Li |  |  | 1 | #DIV/0! | 0.6 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Sodium, Na |  |  | 1 | #DIV/0! | 0.6 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Ammonium, NH4 |  |  | 1 | #DIV/0! | 0.6 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Potassium, K |  |  | 1 | #DIV/0! | 0.6 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Magnesium, Mg |  |  | 1 | #DIV/0! | 0.6 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Calcium, Ca |  |  | 1 | #DIV/0! | 0.6 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0!
Calculations :
| Ion Concentration, ug/cm2 = | (C - B) * TV*Dilution Factor /A*N
| Extracted By :______________ |  |  |  |  | Tested By :________________
| Date : ____________ |  |  |  |  | Date: _____________